# Freezing of PAXGENE Tubes

- Principle

PAXGENE tubes can be frozen at -20(C for short-term storage, then transferred to -80(C for long-term storage.

- Materials and Equipment

  - Patient sample in PAXGENE tube

  - Freezing bag, Ziploc or equivalent

  - -20(C freezer

  - -80(C freezer

- Procedure

  - Immediately after drawing blood into the PAXgene tube, invert the tube several times to mix.

  - Leave tube(s) at room temperature for at least two hours.

  - Place the tube(s) in a Ziploc-type freezing bag on its side.

  - Place the freezing bag into a -20(C or -80(C freezer.

  - If at -20(C, move the freezing bag to a -80(C freezer for long-term storage within 24-48 hours.